# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	INSTRUMENTAL METHODS OF ANALYSIS 			       Time: 3 hours

# Subject Code:	09BT202	       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Write any two applications of Henderson – Hasselbalch equation.

2.	Name the types of centrifugation.

3.	Give the principle of flame photometer.

4.	Mention the specific wavelength range for UV.

5.	What is Rf value?

6.	Write the principle of thin layer chromatography.

7.	Write any two advantage of GM counter.

8.	Give examples for radioactive isotopes.

9.	Define Thermal analysis.

10.	Write any two applications of DSC.

PART – B (5 x 3 = 15 MARKS)

11.	Explain the determination of pH using H2 electrode.

12.	Write the principle and application of fluorimeter.

13.	Write short notes on principle and types of ion exchange column chromatorgraphy.

14.	What is Radioactive decay?

15.	Give a brief account on the principle of thermogravimetry.

PART – C (5 x 15 = 75 MARKS)

16.	Define pH and give a detailed account on determination of pH using glass electrode with a neat diagram.

(OR)

17.	Derive the Henderson – Hesselbalch equation.   Mention its applications.

18.	a.	State the Beer-Lambert’s Law.  												(5)

b.	Write the principle and application of Colorimeter.								(10)

(OR)

19.	Explain the working principle and applications of UV visible spectroscopy.

20.	Explain in detail about HPLC and its applications.

(OR)

21.	Give a detailed account on affinity chromatography and its applications.

22.	Write in detail about steps involved in autoradiography and its applications.

(OR)

23.	Explain in detail about Scintillation Counter and its uses in medicine and Diagnosis.

24.	Give a detailed account on Differential Scanning Calorimeter (DSC).

(OR)

25.	Explain in detail about Differential Thermal Analysis (DTA).