# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	INSTRUMENTAL METHODS OF ANALYSIS 			       Time: 3 hours

# Subject Code:	09BT251	       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Discuss instrumental method of analysis.

2.	What is electromagnetic radiation?

3.	Write down different range of IR.

4.	Define specific rotation.

5.	What is interference?

6.	What is spectroscopy?

7.	What is radioactive decay?

8.	List the applications of radioactive techniques.

9.	Give the applications of DTA.

10.	Write down the difference between TGA and DSC.

PART – B (5 x 3 = 15 MARKS)

11.	Write notes on photometric titrations.

12.	Write short notes on properties of EMR.

13.	Explain various components of UV- visible spectrophotometer.

14.	Explain in detail about the Dubosque colorimeter with a diagram.

15.	Explain in detail about the principle, instrumentation and applications with various thermograms of TGA.

PART – C (5 x 15 = 75 MARKS)

16.	Derive Beer -Lambert’s law and write all the limitations observed in the quantitative analysis.

(OR)

17.	What are ion selective electrodes and explain its types in detail.

18.	Discuss in detail the Principle, Instrumentation and the following interferences observed in AAS.

(OR)

19.	Explain in detail about the flame photometry with principle, instrumentation and applications.

20.	What is electrophoresis? Explain the principles and types of electrophoresis.

(OR)

21.	Describe in detail about various types of chromatography techniques.

22.	Discuss in detail about various types of X-ray detectors.

(OR)

23.	Explain in detail about the nephelometry and turbidimetry with principle, instrumentation and applications.

24.	Discuss in detail about various types of thermal analysis methods.

(OR)

25.	Explain the principle and instrumentation of differential scanning calorimetry.