# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	BIOMEDICAL INSTRUMENTATION 					 Time: 3 hours

# Subject Code:	10MB308		         		        				 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	What do you mean by “Dialysis”?  Explain the procedure of extracorporeal dialysis 			using hemodialyser with neat diagram.						                        	(6)

b.	Explain the procedure for peritoneal dialysis with neat diagram.           			(4)

c.	Explain the operation principle of surgical diathermy analyzer.	            			(5)

d.	Draw the block diagram of the bedside patient monitoring system.        			(5)

2.	a.	Tabulate the biomedical parameters which are commonly encountered for 	cardiovascular system along with their characteristics and corresponding transducers.

(10)

b.	Write a short note on brain waves with neat diagram.		            				(4)

c.	Explain the recording set up of EEG and EMG with a simple block diagram.    	(6)

(OR)

3.	a.	Explain the practical considerations while recording ECG. 					(5)

b.	Analyse different ECG signals with neat diagram.							(10)

c.	Describe the electrodes used for electromyographic work.						(5)

4.	a.	Explain the construction and working of Biosensors.							(10)

b.	Draw the schematic diagram of an automated continuous flow type analysis system. Also explain the construction and working of sampling unit.	                        		(10)

(OR)

5.	a.	Explain the construction and working of various types of Oximetry.			(10)

b.	Describe in detail about the basic components of NMR imaging.				(10)

6.	a.	Explain the design of Image intensifier in Fluoroscopy.						(15)

b.	Draw the block diagram of a basic pulse-echo system.						(5)

(OR)

7.	a.	Explain the construction and working of rotating anode X-ray tube.				(8)

b.	Explain the basic principle of Computed Tomography.						(8)

c.	Draw the block diagram of an echocardiograph circuit.						(4)

8.	a.	Explain the construction and working of CO2 laser with neat diagram. Describe its 	applications.																(10)

b.	Explain the construction and working of He-Ne laser with neat diagram.          	(6)

c.	Explain the principle of four level system of the Nd-YAG laser.          			(4)

(OR)

9.	a.	Tabulate different types of commonly available endoscopes along its range of use and 	diagnostic problem.		                                                						(5)

b.	Explain the construction and working of endoscopic laser coagulator.			(7)

c.	Explain the parts of coronary care units.										(8)