# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	INSTRUMENTAL METHODS OF ANALYSIS 			       Time: 3 hours

# Subject Code:	BC211		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Define buffer solution.

2.	What is signal to noise ratio?

3.	Which lamp acts as a source in flourimeter?

4.	Which one has higher max, ethylene or 1,3 – butadiene?

5.	What is elution?

6.	Give the formula for calculating migration velocity.

7.	List any two examples for radioactive isotopes.

8.	Complete the following equation

88Ra236     -----    2He4       +    ?

9.	What do you mean by thermogram?

10.	Mention the temperature range in furnace for thermo gravimetry.

PART – B (5 x 3 = 15 MARKS)

11.	Calculate the pH of 0.1M sodium acetate and 0.03M acetic acid mixture. The pKa for CH3COOH is 4.57.

12.	State Beer-Lambertz law.

13.	Point out any three applications of ion-exchange chromatography.

14.	Define half – life period. Give the mathematical expression for t1/2.

15.	What is thermal analysis? Give examples for thermal analysis.

PART – C (5 x 15 = 75 MARKS)

16.	Describe the working of glass electrode.  How is it used for the determination of pH?

(OR)

17.	Explain how blood is maintaining constant pH.

18.	Explain the principle, description and applications of flame photometer.

(OR)

19.	Discuss the principle and instrumentation of IR spectroscopy.

20.	Describe the principle and functions of Thin Layer Chromatography.

(OR)

21.	Explain how isoelectric focusing is used to separate amino acids and proteins.

22.	Discuss the principle and working of GM counter for the detection of radioactive isotope.

(OR)

23.	Explain the various applications of radioactive isotopes in medicine and diagnosis.

24.	Explain the principle and instrumentation of Differential Thermal Analysis (DTA).

(OR)

25.	Mention the differences between DSC and DTA. Discuss the applications of Differential Scanning Calorimetry (DSC).   												(5+10)