# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	INSTRUMENTAL METHODS OF ANALYSIS 			 Time: 3 hours

# Subject Code:	CH343			         		        				 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	a.	Give Born- Oppenheimer approximation. 										(5)

b.	Describe the following terms – Diffraction, Transmission, Dispersion, Refraction and Reflection. 																	(15)

(OR)

2.	a.	Explain the principle and instrumentation of flame photometry. 					(14)

b.	Write the advantages, disadvantages and limitations of atomic absorption spectroscopy.																				(6)

3.	a.	What are the possible transitions for the following compounds? 					(4)

i)	Acetone		ii)	ethyl amine

b.	Explain the principle, instrumentation and application in quantitative analysis of UV spectroscopy. 																(16)

(OR)

4.	a.	Illustrate the factors affecting the band frequencies. 								(7)

b.	Differentiate between IR and Raman spectra. 									(8)

c.	What is a selection rule of IR?  Describe mutual exclusion principle.				(5)

5.	a.	Write notes on spin-spin and spin-lattice coupling.								(8)

b.	What is nuclear overhauser effect? 												(6)

c.	Write the applications of NMR spectroscopy.									(6)

(OR)

6.	a.	Describe the instrumentation and applications of molecular fluorescence spectroscopy.																						(10)

b.	What are the factors affecting “g” values? 										(5)

c.	Give the applications of ESR. 													(5)

7.	a.	 Explain the principle, instrumentation and applications of differential thermal 	gravimetry.																	(10)

b.	Write the principle, instrumentation and applications of mass spectroscopy.			(10)

(OR)

8.	a.	Explain the principle, instrumentation and applications of DTA. 					(10)

b.	Explain the principle, instrumentation and applications of gas-liquid chromatography.(10)

9.	Compulsory:

a.	Give Bragg’s equation.														(2)

b.	Explain the powder and rotating crystal method of X-ray diffraction. 				(14)

c.	Write the principles of UPS. 													(4)