# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	INTELLIGENT BUILDINGS 							       Time: 3 hours

# Subject Code:	10CE202	       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	What is BAS?

2.	Define smart materials.

3.	What is positive ventilation?

4.	What is meant by indoor air quality?

5.	Write the nature of construction and materials and its dimension of a reinforced concrete column for fire resistance of 4 hours.

6.	What is fire tower?

7.	What is PIR?

8.	What is basic principle of intrusion sensor?

9.	What is an electronic device?

10.	What is an optical fibre?

PART – B (5 x 3 = 15 MARKS)

11.	What is intelligent building?

12.	How is luminous flux determined?

13.	How and where is the fixed foam installation made?

14.	Mention the process involved in SHM.

15.	What is satellite dish?

PART – C (5 x 15 = 75 MARKS)

16.	Discuss in detail the basic concepts of intelligent buildings.

(OR)

17.	Explain how BAS functionally reduces building energy and maintenance cost of a building.

18.	Discuss in detail the classification of air conditioning systems.

(OR)

19.	Write in detail the PVC sheathed writing system in buildings.

20.	With the help of neat diagram explain the arrangement for providing combined fire fighting and domestic water storage tank.

(OR)

21.	Discuss in detail the automatic sprinklers and requirements of educational buildings in case of fire.

22.	Write in detail about different types of alarm types.

(OR)

23.	Write in detail about SHM components.

24.	Discuss in detail the different types of satellite dish.

(OR)

25.	Explain the block diagram for fibre optic system and also explain its modes of propagation.