# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	ILLUMINATION ENGINEERING 						       Time: 3 hours

# Subject Code:	09EE207	       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Good efficient lighting is obtained by combining _________ and _________.

2.	Energy radiated depends on the _________ power of temperature.

3.	_________ emission is employed in hot cathode lamps.

4.	_________ are used for directing the light from a source of light in the desired direction.

5.	Luminous Flux = _________ × Solid angle.

6.	_________ diagrams are used for calculation of illuminance & luminance levels.

7.	Why is periodic check of the interior lamps required?

8.	Operation theatres need _________ free lighting.

9.	Where do we use wide beam flood lights?

10.	What is Glare Index?

PART – B (5 x 3 = 15 MARKS)

11.	Distinguish between rod cells and cone cells.

12.	What properties of tungsten make it a better material to be used as filament of a bulb?

13.	What do you mean by fieze?

14.	Classify the types of industrial lighting.

15.	List the factors responsible for the lighting scheme for roads.

PART – C (5 x 15 = 75 MARKS)

16.	Draw the structure of human eye and discuss the working of human eye with Luminosity curves for Human Eye.

(OR)

17.	Define Photometry and discuss the types of measurement with photometric bench.

18.	What are luminaries?  Explain the types of luminaries and how they control and direct light.

(OR)

19.	Draw and discuss the working of fluorescent lamp, and list the factors deciding the dimension of fluorescent lamp and   lamp voltage.

20.	Discuss in detail the laws of illumination.

(OR)

21.	Discuss how the lighting calculation is done for a room.

22.	Discuss in detail the design procedure for interior lighting of offices and departmental stores.         																					(7+8)

(OR)

[P.T.O]

23.	Discuss in detail the design procedure for interior lighting of indoor stadium, theatres and 	hospital.

24.	Explain in detail the lighting procedure for aviation and transport lighting.

(OR)

25.	Discuss in detail the design procedure for exterior flood lighting.