# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	RENEWABLE ENERGY SOURCES 					       Time: 3 hours

# Subject Code:	10EE203	       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	What is the mean distance between sun and earth?

2.	Define atmospheric transmission factor.

3.	Define power coefficient.

4.	List out one characteristics of savonius rotor.

5.	How are biogas plants mainly classified?

6.	What is the period for Pig-dung materials to get well fermentation?

7.	What is biophotolysis?

8.	What are the two approaches for solar energy methods?

9.	What is meant by OTEC?

10.	Which law is used for solar energy absorption?

PART – B (5 x 3 = 15 MARKS)

11.	What is the difference between a pyrheliometer and a pyranometer?

12.	What are the classifications of WEC systems?

13.	Write short notes on photosynthetic efficiency.

14.	Write a brief note on hydrogen transportation.

15.	What is basic principle of tidal power?

PART – C (5 x 15 = 75 MARKS)

16.	Describe in brief, the different energy storage methods used in the solar system.

(OR)

17.	What is principle collection of solar energy used in a non-convective solar pond? Describe a non-convective solar pond for solar energy collection and storage.

18.	Write short notes on:

a.	Hybrid systems			b)	Darrius rotor 								(8+7)

(OR)

19.	Describe the main applications of wind energy, giving neat sketches.

20.	Explain in detail about thermo-chemical conversion.

(OR)

21.	What is meant by anaerobic digestion? What are the factors which affect biodigestion? Explain briefly.

22.	What are the different methods for hydrogen storage? Describe their advantages and disadvantages.

(OR)

[P.T.O]

23.	Explain principle, construction, working and applications of fuel cell.

24.	Describe the closed cycle OTEC system with, with its advantages over open cycle system.

(OR)

25.	Explain in detail about the geothermal energy, types of geothermal energy sites, site selection 	and geothermal power plants.