# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	ENERGY SYSTEMS 									       Time: 3 hours

# Subject Code:	EE226		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	What is the function of cooling tower?

2.	Define load factor.

3.	What is meant by MHCP?

4.	Mention the modern welding techniques.

5.	Define crest speed.

6.	What is the need for traction motor control?

7.	Write the formula to find the optimum number of stages in voltage multiplier circuit.

8.	Mention the important components of an impulse current generator.

9.	What are the types of over voltage tests?

10.	What do you meant by creepage distance?

PART – B (5 x 3 = 15 MARKS)

11.	List out the advantages of solar power plant.

12.	What are the causes of failure of heating element?

13.	Mention any four requirements of an ideal traction system.

14.	What are the components of multistage impulse generator?

15.	List out the different types of tests on cables.

PART – C (5 x 15 = 75 MARKS)

16.	With a neat sketch, complain the principle of operation of thermal power plant.

(OR)

17.	Draw the block diagram of a diesel power station and discuss its operation.

18.	An illumination of 300 Lux is to be provided in a class room 2000m x 10 m with 40W fluorescent lamps.  Determine the no. of layout of lamps in the lighting installation. Assume missing data.

(OR)

19.	Describe neat sketches of: 	a.	Direct arc furnaces 	b.	Indirect arc furnace

20.	Discuss about plugging and rheostatic braking applied to D.C. shunt motor with necessary expressions.

(OR)

21.	Write short notes on:

a.	Speed time curve for railway services.		b.	Recent trends in electric traction.

22.	Explain the principle of operation and moving of Van de-Graff generator.

(OR)

23.	Explain the principle of operation of sphere gap measurements.

24.	Discuss in detail about testing of bushings.

(OR)

25.	Discuss in detail about impulse testing of transformer.