# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	VIRTUAL INSTRUMENTATION 						       Time: 3 hours

# Subject Code:	EE270		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	State the advantages of virtual instrumentation.

2.	Name the different data flow techniques.

3.	Clusters are collection of _________ data type.

4.	Mention the importance of I/O files in LabVIEW.

5.	What is DIO?

6.	What is DMA?

7.	DAQ stands for _________.

8.	Expand IVI.

9.	Explain windowing.

10.	Give any one application in power spectrum.

PART – B (5 x 3 = 15 MARKS)

11.	Explain graphical programming in data flow.

12.	Explain shift register in loops.

13.	Discuss counters and timers.

14.	Define interface bus.

15.	Define filtering techniques.

PART – C (5 x 15 = 75 MARKS)

16.	Draw the block diagram and architecture of a virtual instrument and explain in detail.

(OR)

17.	Explain the various data flow techniques.

18.	a.	Explain the difference between for and While loops.                                       		(8)

b.	Write a program in VI to find the factorial a number ‘5’ using both for and while.	(7)

(OR)

19.	a.	Explain the difference between arrays and clusters.			      					(8)

b.	Write a VI program to simulate the draining of a tank whose maximum level is 1000 liters.  Drain up to a 400 liters using for loop for an interval of 250 ms.	       				(7)

20.	Explain data acquisition process in LabVIEW.

(OR)

21.	Give the procedure for software and hardware installation.

22.	Explain the various interfacing buses in detail with necessary diagram.

(OR)

23.	Differentiate RS 232C and RS485 with necessary diagram.

24.	With relevant block diagrams, explain the VI applications in Digital millimeter using LabVIEW.

(OR)

25.	Explain the need of analytical tools like power spectrum in VI.