# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	HVDC TRANSMISSION 								 Time: 3 hours

# Subject Code:	EE344			         		        				 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Show that by using Fourier analysis for a 12-pulse converter as shown in figure, the effective value of 10th harmonic current iA is given by I10=26πId where Id is the d.c output current. Assume that the effect of overlap is neglected.		           		(10)

b.	What are non-characteristic harmonics? State the causes for such harmonics. Mention the 	ill effects of above harmonics. Mention briefly the steps that should be taken to 	eliminate them.  							           							(10)

2.	a.	Explain in detail the applications of DC Transmission.			             		(6)

b.	Discuss in detail the comparison of AC and DC transmission.		           		(14)

(OR)

3.	a.	Explain in detail the various components of HVDC transmission system.           	(10)

b.	Elaborate the modern trends in DC transmission.				 				(6)

4.	Describe in detail the simplified analysis of Graetz circuit.

(OR)

5.	Explain in detail the converter bridge characteristics.

6.	Discuss in detail the Converter control characteristics.

(OR)

7.	Explain in detail the Firing angle control.

8.	Explain in detail the various types of converter faults.

(OR)

9.	Describe in detail the protection of converters against over voltages.