# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	ADVANCED TOPICS IN POWER ELECTRONICS		      Time: 3 hours

# Subject Code:	EE345	 										      Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

What are resonant-switch converters?  Explain with necessary circuit diagram and waveforms the operation of ZCS and ZVS resonant-switch converters and compare their topologies.

2.	Explain in detail the various methods that can be used for improving the single-phase utility interface of power electronic equipments.

(OR)

3.	a.	What is an utility interface?  State the need for improved utility interface.			(6)

b.	What is EMI? Explain the generation of EMI, its standards and the ways to reduce it.(14)

4.	a.	Compare and contrast shunt and series reactive power compensation.				(6)

b.	Explain in detail the working of various shunt controllers in FACTS.			       (14)

(OR)

5.	a.	Describe the operation of voltage and phase angle regulators in a power system.		(8)

b.	What is an UPFC? Discuss its method of operation and its control structure.			(12)

6.	Explain in detail about the modeling of SVC and other FACTS Controllers.

(OR)

7.	Write short notes on the following:

a.	System Control and Protection of SVC		b.	Harmonics and Filters in SVC	     (8+12)

8.	What are Power Junction Field Effect Transistors? Discuss its basic structure, I-V characteristics, operation and switching characteristics.

(OR)

9.	a.	Describe the basic structure, turn-on and turn-off switching behavior, device limits and 	safe operating area of MOS-Controlled thyristors.								(10)

b.	What are Power Integrated Circuits?  Discuss the various types, challenges facing PIC 	commercialization and the progress made in resolving them.						(10)