# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	ANALYTICAL INSTRUMENTATION 					       Time: 3 hours

# Subject Code:	09EI201		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Mention the properties of Electromagnetic Radiation.

2.	Give the principle of Absorption Spectrometry.

3.	Define Retention Time.

4.	_______ detectors are based on the principle of refraction, reflection or interference of light beam.

5.	What are the methods for estimation of Carbon-Monoxide?

6.	Lead Acetate tape starting method is used for _______ analyzer.

7.	Define pH.

8.	What are the types of ion selective electrodes?

9.	Mention the components of Mass Spectrometry.

10.	_______ meters are used to identify the physical properties of metals, polymeric materials and other solids.

PART – B (5 x 3 = 15 MARKS)

11.	What is the principle of Double Beam Instrument?

12.	List the applications of HPLC.

13.	What are the effects of Air Pollutants?

14.	Explain the working of Direct Reading type pH meter.

15.	What is dead time in a GM Counter?

PART – C (5 x 15 = 75 MARKS)

16.	Derive Beer’s law and discuss the reasons for derivation of Beer’s law.

(OR)

17.	With a neat sketch explain the principle, construction and working of Fourier Transform Infra-Red Spectrophotometers and also mention their advantages and disadvantages.

18.	Explain the various stages of Gas Chromatography with neat sketch.

(OR)

19.	Discuss any two types of detectors used in Liquid Chromatography.

20.	a.	Explain the operation of Paramagnetic Oxygen Analyzer.								(8)

b.	Give a brief note on the measurement of Nitrogen Oxides.								(7)

(OR)

21.	With neat sketch, explain the operation of Dual Beam IR Analyzer.

22.	a.	Briefly explain about the Sodium Analyzer.											(10)

b.	What are the features of Biosensors?												(5)

(OR)

[P.T.O]

23.	Write short notes on:

a.	Silicon Analyzer																	(8)

b.	Measurement of Dissolved Oxygen Analyzer.										(7)

24.	a.	Explain the working of Gamma Camera.											(10)

b.	Give the principle of NMR Spectrometer and mention its types.						(5)

(OR)

25.	a.	Briefly explain the operation of X-ray Spectrometer.									(10)

b.	What are the applications of mass spectrometry?										(5)