# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	FIBER OPTICS AND LASER INSTRUMENTATION		       Time: 3 hours

# Subject Code:	09EI203		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Mention the uses of optical fibers.

2.	What is waveguide dispersion?

3.	What is pockets effect?

4.	Define Moiré fringes.

5.	What is meant by laser action?

6.	List out the properties of laser.

7.	What are the two modes of laser melting process?

8.	What are the types of LIDAR?

9.	What is Holography?

10.	What are the advantages of laser surgery?

PART – B (5 x 3 = 15 MARKS)

11.	Write short notes on absorption loss.

12.	Write short notes on active sensor.

13.	Write briefly about liquid laser.

14.	Explain the applications of laser in melting.

15.	Explain briefly about brain surgery.

PART – C (5 x 15 = 75 MARKS)

16.	a.	Explain the different types of fibers and their properties.							(10)

b.	Differentiate between step and graded index fiber.								(5)

(OR)

17.	a.	Write a neat diagram and explain the construction and working of LED source. 		(10)

b.	Describe the scattering losses in the fiber.										(5)

18.	Describe in detail the principle of measurement of current, voltage and strain.

(OR)

19.	What are the different types of fiber optic sensors? Explain them.

20.	Explain in detail about three level and four level lasers.

(OR)

21.	Write short notes on:

a.	Q switching		b.	Mode locking		c.	Cavity dumping.				      (3 x 5)

22.	Explain the principle of laser for the measurement of distance and velocity with neat diagrams.

(OR)

23.	Discuss in detail the principle of laser welding and melting.

[P.T.O]

24.	Explain in detail the principle of Holography for Non-destructive testing.  Mention its advantages and disadvantages.

(OR)

25.	Discuss the medical application of laser

a.	Tissue interactive                        												(7)

b.	Plastic surgery                             												(8)