# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	BIOMEDICAL INSTRUMENTATION 					       Time: 3 hours

# Subject Code:	10EI216		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Name the physiological systems of the body.

2.	What is meant by cerebellum?

3.	Name the factors that are considered in the design of biomedical instrument system.

4.	What are the different thermal sensors?

5.	Name the different types of electrodes.

6.	What are the advantages of LVDT?

7.	What are the types of measurements of blood pressure?

8.	What is meant by Mean Arterial Pressure (MAP)?

9.	What is the application of ventricular asynchronous or stand by pacemaker?

10.	Define Heart-Lung Machine.

PART – B (5 x 3 = 15 MARKS)

11.	What you mean by bio-impedance signal?

12.	Give the classifications of biomedical instruments.

13.	Explain the principle of sphygmomanometer.

14.	Define Electrophoresis.

15.	Write a short note on nerve stimulators.

PART – C (5 x 15 = 75 MARKS)

16.	Explain the respiratory system of human with neat sketch.

(OR)

17.	Describe the Central Nervous system of human with neat sketch.

18.	Write down the characteristics and recording of bioelectric signal obtained in ECG.

(OR)

19.	Discuss the operation of electrodes used for EMG with neat diagram.

(OR)

20.	Explain the operation of LVDT with neat diagram.

(OR)

21.	Discuss with neat diagrams, the operation of oximeters and ultrasonic blood flowmeters.

22.	Explain the operation of Spectrophotometer.

(OR)

23.	Explain how the blood pH is being measured with the suitable diagram.

24.	Illustrate in detail about the MRI Instrumentation.

(OR)

25.	 Discuss the principle and operation of X- ray imaging technique.