# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	MEASUREMENTS AND INSTRUMENTATION 			       Time: 3 hours

# Subject Code:	EI219		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	What is meant by observational error?

2.	Define the term calibration.

3.	Write the function of transducer.

4.	Name any one of the resistive transducers.

5.	What is meant by multiplexing?

6.	Write the concept of grounding.

7.	Write any two applications of CRO.

8.	Expand LED.

9.	Write the applications of energy meter.

10.	Enumerate the concept of viscosity.

PART – B (5 x 3 = 15 MARKS)

11.	Describe the various types of errors in measurement.

12.	Explain the concept of pH electrode.

13.	Describe the function of dot matrix display.

14.	Explain the function of sample and hold circuit.

15.	Explain the principles of magnetic measurements.

PART – C (5 x 15 = 75 MARKS)

16.	With a neat block diagram, explain the operation of functional elements of an instrument and its static and dynamic characteristics.

(OR)

17.	Briefly explain the statistical evaluation of measurement data in detail.

18.	With neat constructional diagram, explain the function of capacitive and inductive transducers.

(OR)

19.	Write brief notes on:	a.	Piezo electric transducer.		b.	Optical transducer.		(7+8)

20.	Explain the principle of operation of V to I and I to V converters.

(OR)

21.	Describe the principle of signal conditioning circuit and the significance of data acquisition system.

22.	Write short notes on:	a.	Digital plotter			b.	Magnetic disc.				(7+8)

(OR)

23.	With a neat block diagram, explain the construction and operating principle of Cathode Ray Oscilloscope.

24.	a.	Explain the operation of digital voltmeter.										(7)

b.	Describe the function of energy meter.											(8)

(OR)

25.	Explain the construction, principle of operation and applications of instrument transformer.