# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	LOGIC AND DISTRIBUTED CONTROL SYSTEMS 		       Time: 3 hours

# Subject Code:	EI236		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Mention the main components of data acquisition system.

2.	Write the Position form algorithm for PID controller mode.

3.	How will you isolate PLC from Input output Modules?

4.	Name the different types of counter functions used in PLC.

5.	Mention any two arithmetic functions used in PLC.

6.	Write the applications of sequencer functions in PLC.

7.	Name any two data highways.

8.	DEC net uses token passing technique. (True / False).

9.	CCTV stands for ________.

10.	Mention any two process industries where DCS is used for control applications.

PART – B (5 x 3 = 15 MARKS)

11.	Bring out the difference between DDC and SCADA.

12.	Draw the ladder logic diagram for an indicating light to go ON when a count reaches 25. The light should then go OFF when the count reaches 35.

13.	Briefly explain about the SKIP and MCR functions in PLC.

14.	What is redundancy in DCS?

15.	Define the RS-232 Communication standard.

PART – C (5 x 15 = 75 MARKS)

16.	a.	Write short notes on Digital PID Algorithm.										(5)

b.	Explain in detail about Data Loggers with neat sketch. 								(10)

(OR)

17.	Explain in detail about SCADA with neat sketch.

18.	Explain the Architecture of PLC with a neat diagram.

(OR)

19.	Explain in detail about the Timer functions and the Counter functions in PLC.

20.	Discuss in detail about the PLC Number comparison functions and Sequencer function.

(OR)

21.	Explain in detail about the PLC-PID function with necessary example.

22.	Draw the architecture of DCS and explain the function of each block in detail.

(OR)

23.	a.	Explain in detail about the functions of Field Control Unit. 							(8)

b.	Explain in detail about the data highways. 											(7)

24.	Discuss in detail about the communication options used in Distributed Control System.

(OR)

25.	Explain the organization and architecture of DCS in any one Process Industry.