# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	ELECTRICAL MEASUREMENTS AND INSTRUMENTS      Time: 3 hours

# Subject Code:	EI260		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Limiting Error = __________ x full scale value

a.	Accuracy	b.	Precision	c.	error

2.	Define the term Precision.

3.	Name the different types of errors.

4.	List out the different type of standards.

5.	__________ instruments are used only for DC measurement.

6.	Write the formula for Deflecting Torque.

7.	Name any two bridges for measuring resistance.

8.	What are RF probes?

9.	What is the use of MEGGER?

10.	What is Q-Factor?

PART – B (5 x 3 = 15 MARKS)

11.	Compare Moving Coil and Moving Iron Instruments.

12.	Explain the Loading Effect in measurements.

13.	List the type of bridges and write the balance equation in a Hay’s Inductance Bridge.

14.	Differentiate between Electronic AC and DC type Voltmeters.

15.	What are AC potentiometers?

PART – C (5 x 15 = 75 MARKS)

16.	With a neat diagram explain in detail the construction of a PMMC instrument.

(OR)

17.	Explain in detail the construction of a MI instruments with its advantages and disadvantages.

18.	Describe in detail the construction and operation of induction type kWh meter.

(OR)

19.	With a neat diagram explain in detail the construction and operation of Electrodynamic type wattmeter.

20.	Explain with neat block diagram of the operation of servo potentiometric type digital voltmeter.

(OR)

21.	Discuss the construction and theory of operation of C.T and V.T.

22.	Discuss in detail about Kelvin double bridge.

(OR)

23.	Discuss in detail about series and shunt type ohm meter.

[P.T.O]

24.	Discuss in detail about Maxwell’s bridge.

(OR)

25.	Elaborate in detail about the errors in AC bridge methods and their compensators.