# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	INSTRUMENTAL TECHNIQUES OF FOOD ANALYSIS	 Time: 3 hours

# Subject Code:	10FP302		         		        				 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Explain the basics of NMR spectroscopy. 										(8)

b.	Discuss Solid-state nuclear magnetic resonance. 									(12)

2.	Discuss in detail about Column chromatography.

(OR)

3.	Explain the principle and working of HPLC.

4.	Explain the principle and working of Gas chromatography.

(OR)

5.	Discuss the principle and working of FTIR Spectroscopy.

6.	a.	What is the principle and instrumentation in Atomic absorption spectroscopy? 		(10)

b.	Explain the different atomizers used in Atomic absorption spectroscopy. 			(10)

(OR)

7.	Discuss the principle and instrumentation used in Atomic emission spectrometry.

8.	Explain the principle and working of mass spectrometry. Discuss its application in protein characterization.

(OR)

9.	Discuss the principle, instrumentation and detection by capillary electrophoresis.