# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	INSTRUMENTATION AND CONTROL SYSTEMS 		       Time: 3 hours

# Subject Code:	ME256		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	The recorder unit is a generalized measurement system for _________ stage.

2.	What is Calibration?

3.	Name the system to measure linear displacement.

4.	Piezo – Pressure transducer is not used to measure _________ pressure.

5.	What are the instruments used to measure torque?

6.	What is a proving ring?

7.	_________ are used to add two or more signals in the system.

8.	Which is used to represent the control system graphically?

9.	What is phase margin?

10.	The _________ is a frequency response plot of the transfer function of a system.

PART – B (5 x 3 = 15 MARKS)

11.	Sketch the three stages of a generalized measurement system.

12.	Illustrate the relation between absolute, gauge and atmospheric pressure.

13.	What are the types of strain measuring techniques?

14.	State the advantages of closed loop systems.

15.	What is transient and steady state response?

PART – C (5 x 15 = 75 MARKS)

16.	Discuss the types of measurement errors.

(OR)

17.	Write a short note on:

a.	Accuracy		b.	Precision 	 	c.	Dynamic terms					      (3 x 5)

18.	Explain with neat sketch of elastic pressure transducer.

(OR)

19.	Discuss the special flow meters with neat diagram.

20.	a.	Discuss about piezoelectric transducer. 											(5)

b.	Illustrate with neat sketch, the mechanical humidity absorption Hydrometer. 		(10)

(OR)

21.	Explain resistance strain gauge with neat diagram.

[P.T.O]

22.	Draw a signal flow graph and evaluate the closed loop transfer function of a system whose block diagram is shown as

G1

G3

G4

H2

H1

+

-

-

+

-

+

C(s)

R(s)

G2

(OR)

23.	What are the advantages and disadvantages of hydraulic devices in control system? Explain hydraulic devices with an example.

24.	Draw the bode plot for the function of .

(OR)

25.	Use the routh stability criterion to determine the location of roots on the s-plane and hence the stability for the system represented by the characteristic equation s6+s5+3s4+3s3+3s2+2s+1=0.