# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	METROLOGY AND COMPUTER AIDED INSPECTION       Time: 3 hours

# Subject Code:	ME281		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	What are the important elements of measurement?

2.	________ refers to the ability of measuring device to detect small difference in a quantity being measured.

3.	Name the instrument designed on the principle of 'Screw and Nut'.

4.	________ is an optical instrument, which is used for measuring the small angular deviation.

5.	Name the methods to measure flatness.

6.	What are the elements on surface texture?

7.	List out the types of pitch error in screw thread.

8.	Define module of a gear.

9.	Write the types of coordinate measuring machines.

10.	Name the type of laser used in interferometers.

PART – B (5 x 3 = 15 MARKS)

11.	Mention the various measures to be taken care for measuring instrument.

12.	Differentiate between ‘Line standard’ and ‘End standard’.

13.	State the applications of Tool maker’s microscope.

14.	Derive the best wire diameter for measuring pitch diameter of a screw thread.

15.	What are the advantages of laser interferometer?

PART – C (5 x 15 = 75 MARKS)

16.	Define Error. Explain about the errors in measurements and its causes in detail.

(OR)

17.	a.	Distinguish between 'Precision' and 'Accuracy' with suitable examples.                 		(8)

b.	Define Calibration. Explain the standard procedure of calibrating a metrological instrument.

(7)

18.	a.	Explain the construction and working of Sigma Comparator with a neat sketch.			(10)

b.	Explain the process of ‘Wringing’ in slip gauges.					 					(5)

(OR)

19.	a.	Explain the construction and working principle of Autocollimator, with a neat sketch.	(10)

b.	With neat sketch, explain the uses of Angle dekkor.                                              			(5)

20.	Define Straightness. Explain the various methods to measure the straightness of a surface.

(OR)

21.	a.	Explain the working principle of Tomlinson surface meter with a neat sketch.    			(10)

b.	Explain about the various reference circles used for assessing the out of roundness with neat 	sketch.                                                                                                            				(5)

[P.T.O]

22.	Define pitch diameter and explain how pitch diameter of screw thread is measured using three wire method.

(OR)

23.	a.	Name the methods to measure pitch and tooth thickness of a gear.                 				(3)

b.	With neat sketch, explain the working of Parkinson gear testing machine and list out its limitations.                                                                                            					(12)

24.	Explain the construction and working details of Coordinate Measuring Machines.  State its advantages and disadvantages.

(OR)

25.	a.	Explain the construction and working principle of laser interferometer with neat diagram.(10)

b.	Explain the use of laser interferometer in angular measurement.                      			(5)