# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May 2011

# Subject Title:	MATERIAL CHARACTERIZATION 					 Time: 3 hours

# Subject Code:	PH336			         		        				 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Define photoluminescence. 													(4)

b.	Sketch the Nuclear Magnetic Resonance instrument block diagram and explain its work 	function. 																	(16)

2.	a.	Describe X-ray powder crystal method of obtaining diffraction pattern. 				(16)

b.	Discuss about structure factor formula.											(4)

(OR)

3.	a.	Explain with necessary diagram of rotating crystal analysis method.				(10)

b.	Calculate particle size of a given sample using Scherrer formula.	 				(10)

4.	a.	Draw the diagram of Atomic Forced Microscopy system and explain the working function 	of   instrumentation.															(12)

b.	Write the applications of AFM studies. 											(8)

(OR)

5.	a.	Describe transmission electron microscopy system of analysis.						(12)

b.	Distinguish between TEM and STEM.											(8)

6.	a.	Explain the instrumentation of thermogravimetric analysis of a sample.				(12)

b.	Define transition temperature and write the applications of thermal analysis.			(8)

(OR)

7.	a.	Describe the differential scanning calorimetry of sample analysis.					(12)

b.	Using TGA, calculate the plastic materials transition temperatures.					(8)

8.	a.	State electrical conductivity of a given liquid and mention the uses of liquid 	chromatography.																(10)

b.	State hardness of a material and explain the Vicker’s hardness instrumentation.		(10)

(OR)

9.	a.	Define pH and mention the applications of gas chromatography.					(10)

b.	Describe the working of a vibrating sample magnetometer system.					(10)