# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November/December 2011

# Subject Title:	INSTRUMENTAL METHODS OF ANALYSIS 			       Time: 3 hours

# Subject Code:	09BT202	       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Define the term pH of the solution.

2.	Name few applications of electrodes.

3.	State Beer-Lambert’s law.

4.	Define the range of UV and IR spectrum.

5.	Name any two ion-exchangers.

6.	State any one applications of thin layer chromatography.

7.	State the law of radioactive decay.

8.	What is the unit of radioactivity?

9.	What is thermogravimetry?

10.	Which reference material will be used in differential scanning calorimeter?

PART – B (5 x 3 = 15 MARKS)

11.	Define centrifugation.

12.	What are the necessary arrangements to be made for the calibration of instruments?

13.	State the principle of gel filtration chromatography.

14.	List out the applications of radioactive techniques.

15.	What are the factors which affects differential thermal analysis?

PART – C (5 x 15 = 75 MARKS)

16.	Discuss in detail about Henderson-Hasselbach equation.

(OR)

17.	Explain in detail about the working principle of centrifugation equipments and its types with neat diagram.

18.	Discuss in detail about UV visible spectrophotometry.

(OR)

19.	Write short notes on:

a.	Colorimeter																	(5)

b.	Flourimeter 	 																(5)

c.	Spectrophotometer. 															(5)

20.	Discuss in detail on SDS PAGE with its applications.

(OR)

21.	Describe the working principles of the following:

a.	Ion exchange chromatography													(5)

b.	Gel filtration chromatography  													(5)

c.	Affinity chromatography.														(5)

[P.T.O]

22.	Explain with neat diagram of a single channel pulse height analyzers.

(OR)

23.	Explain about the following:

a.	Radiometric titrations and types 												(7)

b.	Tracer techniques.															(8)

24.	Explain with neat diagram the construction and working principle of differential scanning calorimeter (DSC).

(OR)

25.	Explain about modern thermo balance with schematic and DTG curves.