# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November/December 2011

# Subject Title:	INSTRUMENTATION IN IRON AND STEEL INDUSTRIES

# Time: 3 hours

# Subject Code:	EI227		       	               	       	  			              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	What is the difference between coal and coke?

2.	What is smelting process?

3.	Cold finishing establishes the final dimension and physical properties. (True/False)

4.	Name few of the coating materials after the cold working.

5.	Thermocouples are used to measure the height of the molten metal. (True/False)

6.	Name the flow measuring instrument in Iron and Steel Industry.

7.	What do you mean by the piping and Instrumentation Symbol “FRC”?

8.	What do you mean by the piping and Instrumentation Symbol “ZT”?

9.	In Annealing Process total time of heat, soak, cool cycles may be from_______ to _______ hours.

10.	Name the thickness measuring instrument in Iron and Steel Industry.

PART – B (5 x 3 = 15 MARKS)

11.	What is sintering?

12.	What is the need for primary rolling?

13.	Explain the importance of pressure measurement in rolling mill.

14.	What is the use of water cooled lance in Basic Oxygen Furnace and how will you determine the volume of oxygen required?

15.	What is the need for central utilities dispatch computer?

PART – C (5 x 15 = 75 MARKS)

16.	With a neat flow diagram, explain the basic sequence of steel making process.

(OR)

17.	With a neat diagram, explain the working of electric furnace steel making process.

18.	Explain in detail about the primary rolling process.

(OR)

19.	Explain in detail about the cold rolling and finishing process.

20.	Write short notes on the following:

a.	Molten steel level detection by thermocouple									(8)

b.	Flow measurement in Iron and Steel Industry									(7)

(OR)

21.	Explain thickness and shape measurement of Iron sheets with neat sketch.

22.	With a neat diagram, explain the blast furnace stove combustion control system.

(OR)

23.	Explain in detail about strand casting Mold level and cooling control.

[P.T.O]

24.	With neat diagram, explain the computer controlled annealing process.

(OR)

25.	Draw and explain the working of the computer controlled rolling mill.